## Slide 1: Linear Measurement MICROMETER

## Slide 2: Micrometers
Useful device for magnifying small measurement
Accurate screw and nut are used for measurement
Micrometers works on the principle of screw and nut. The screw is attached to a concentric cylinder or thimble the circumference of which is divided into a number of equal parts. A screw is turned through nut by one revolution, its axial movement is equal to pitch of the thread of screw.
Construction

## Slide 4: Micrometers

## Slide 5: Principle of micrometer

## Slide 6: Steps to calculate pitch of micrometer
1. Let us set Micrometer at a linear scale reading of 2 mm.
2. Rotate the thimble for 10 rotations.
3. Note down the reading on main scale after rotations (its 7 mm)

## Slide 8: To calculate least count
As,
We can say that ,

## Slide 9
So, we can conclude below

## Slide 10
Zero error determination: +ve Zero error

## Slide 11
Zero error determination: -ve Zero error

## Slide 12: Lets check , what we learnt

## Slide 14: Types of micrometers
Outside micrometer
Inside micrometer
Vernier micrometer
Depth micrometer
Bench micrometer
Digital micrometer
Differential screw micrometer
Micrometer with dial gauge
Screw thread micrometer

## Slide 15
Inside Micrometer

## Slide 16
Depth Micrometer

## Slide 17
ANY QUESTIONS ????